## Sheet1
FID | VILLAGE | WATER WORKS (W/W) NAME | HABITATION | DISTRICT | BLOCK | CIRCLE | DIVISION | SUB-DIVISION | SECTION
2 | PAI | WW-SNP-PAI KKD | PAI | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHED | 1
3 | BARONA | WW-SNP-BARONA | BARONA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHED | 1
0 | MANDAURA | WW-SNP-MANDAURA | MANDAURA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | SNP PHESD NO. 3 | 1
1 | THANA KALAN | WW-SNP-THANA KALAN | THANA KALAN | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 1
4 | ASHRAFPUR MATINDU | WW-SNP-MATINDU | ASHRAFPUR MATINDU | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 2
5 | ASHRAFPUR MATINDU | WW-SNP-GURUKUL MATINDU | ASHRAFPUR MATINDU | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 2
13 | JHAROTH | WW-SNP-JHAROTH | JHAROTH | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 3
6 | GARHI SISANA | WW-SNP-GARHI SISANA | GARHI SISANA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 2
7 | SISANA | WW-SNP-SISANA | SISANA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 2
8 | SILANA | WW-SNP-SILANA KKD | SILANA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 3
9 | GORAR | WW-SNP-GORAR | GORAR | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 3
10 | NAKLOI | WW-SNP-NAKLOI | NAKLOI | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | KKD PHESD | 2
11 | FARMANA | WW-SNP-FARMANA 1 | FARMANA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | SNP PHESD NO. 3 | 1
12 | FARMANA | WW-SNP-FARMANA 2 | FARMANA | SONIPAT | KHARKHODA | SONIPAT | SNP (D AND P) PHED | SNP PHESD NO. 4 | 1

## Sheet2
FID | S.No. | Booster | Village Name | Habitation | Circle | Division | Sub-Division | Section
8 | 1 | BS-SNP-MATINDU GURUKUL | Ashrafpur Matindu | Ashrafpur Matindu | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 2
11 | 2 | BS-SNP-BIDHLAN | Bidhlan | Bidhlan | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 3
2 | 3 | BS-SNP-FIROJPUR BANGAR | Firojpur Bangar | Firojpur Bangar | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
1 | 4 | BS-SNP-FIROJPUR BANGAR 1 | Firojpur Bangar 1 | Firojpur Bangar | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
12 | 5 | BS-SNP-KANWALI | Kanwali | Kanwali | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
7 | 6 | BS-SNP-KHURAMPUR | Khurampur | Khurampur | Jhajjar | BAHADURGARH PHED | Bahadurgarh PHESD NO. 2 | 2
6 | 7 | BS-SNP-MANDAURA | Mandaura | Mandaura | Sonipat | SNP (D AND P) PHED | Sonipat PHESD NO. 3 | 1
10 | 8 | BS-SNP-CHOLKA | Nasirpur Cholka | Nasirpur Cholka | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 2
3 | 9 | BS-SNP-RAMPUR | Rampur | Rampur | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
5 | 10 | BS-SNP-RAMPUR | Rampur | Rampur | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
13 | 11 | BS-SNP-ROHAT | Rohat | Rohat | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
9 | 12 | BS-SNP-ROHNA | Rohna | Rohna | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 2
4 | 13 | BS-SNP-SAIDPUR | Saidpur | Saidpur | Sonipat | SNP (D AND P) PHED | Kharkhoda PHESD | 1
0 | 14 | BS-SNP-SOHTI | Sohti | Sohti | Jhajjar | BAHADURGARH PHED | Bahadurgarh PHESD NO. 2 | 2

## Sheet3
VILLAGE | T/W NAME | HABITATION | LOCATION | DISTRICT | BLOCK | CIRCLE | DIVISION | SUB-DIVISION | SECTION | TOTAL DISCHARGE (LPM - LITERS PER MINUTE) | HEAD (M) | HP (PUMP CAPACITY) | SPRING LEVEL (M)
KIROLI | TW-PAHLADPUR KIROLI TW NO. 2 | KIROLI | INSIDE W/W 1 | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 350 | 40 | 7.5 | 12
PEHLADPUR | TW-PAHLADPUR KIROLI TW NO. 3 | PEHLADPUR | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 500 | 50 | 15 | 12
KHURAMPUR | TW-SNP KHURAMPUR | KHURAMPUR | KHURAMPUR | SONIPAT | KHARKHODA | JHAJJAR | BAHADURGARH PHED | BAHADUGARH PHESD NO.2 | 2 | 300 | 90 | 10 | 167
BARONA | TW-SNP -BARONA | BARONA | NEAR PAI DISTRIBUTRY | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 450 | 45 | 7.5 | 27
ROHNA | TW-SNP- ROHNA | ROHNA | MATINDU ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 400 | 15 | 10 | 30
ROHNA | TW-SNP- ROHNA 4 | ROHNA | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 450 | 45 | 7.5 | 30
GOPALPUR | TW-SNP- GOPALPUR-KKD | GOPALPUR | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 10 | 30
GOPALPUR | TW-SNP- GOPALPUR 4 | GOPALPUR | GOPALPUR | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 10 | 30
RAMPUR | TW-SNP- RAMPUR-KKD | RAMPUR | NEAR POND AND ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 7.5 | 30
CHHINOLI | TW-SNP- CHHINOLI | CHHINOLI | IN VILLAGE | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 400 | 25 | 12.5 | 0
GORAR | TW-SNP- GORAR 1 | GORAR | NEAR MINOR | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 3 | 200 | 40 | 5 | 22
SISANA | TW-SNP- SISANA 5 | SISANA | IN VILLAGE | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 300 | 40 | 5 | 26
SISANA | TW-SNP- SISANA 6 | SISANA | NEAR CANAL AT W/W | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 300 | 40 | 7.5 | 30
SISANA | TW-SNP- SISANA 2 | SISANA | SISANA 2 | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 400 | 12 | 10 | 12
FIROJPUR BANGAR | TW-SNP- FIROJPUR BANGAR | FIROJPUR BANGAR | FIROJPUR BANGAR | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 7.5 | 18
FIROJPUR BANGAR | TW-SNP- FIROJPUR BANGAR | FIROJPUR BANGAR | NEAR MINOR | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 65 | 7.5 | 120
JATOLA | TW-SNP- JATOLA | JATOLA | JATOLA | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 40 | 7.5 | 25
JATOLA | TW-SNP- JATOLA 3 | JATOLA | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 600 | 12 | 10 | 30
JATOLA | TW-SNP- JATOLA | JATOLA | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 600 | 12 | 10 | 30
SAIDPUR | TW-SNP- SAIDPUR | SAIDPUR | IN JATOLA | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 7.5 | 30
TURKPUR | TW-SNP- TURKPUR NEW | TURKPUR | NEAR KMP ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 70 | 7.5 | 40
THANA KALAN | TW-SNP- THANA KALAN JATOLA | THANA KALAN | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 500 | 50 | 10 | 30
THANA KALAN | TW-SNP- THANA KALAN 1 | THANA KALAN | NEAR DRAIN | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 400 | 50 | 7.5 | 25
THANA KHURD | TW-SNP- THANA KHURD | THANA KHURD | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 600 | 40 | 10 | 40
KANWALI | TW-SNP- KANWALI -KKD 3 | KANWALI | THANA KHURD RIGHT | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 400 | 12 | 10 | 30
FATEHPUR | TW-SNP- FATEHPUR 1 | FATEHPUR | FATEHPUR | SONIPAT | KHARKHODA | SONIPAT | SNP PHED -2 | SNP PHESD NO. 5 | 3 | 600 | 30 | 15 | 90
ROHAT | TW-SNP- ROHAT 1 | ROHAT | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 450 | 60 | 10 | 20
NASIRPUR CHOLKA | TW-SNP- CHOLKA 2 | NASIRPUR CHOLKA | ON KKD ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 350 | 40 | 5 | 24
JHAROTH | TW-SNP- JHAROTH SMALL CHAMBER | JHAROTH | SMALL PC | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 12 | 7.5 | 30
KHANDA | TW-SNP- KHANDA -KKD 1 | KHANDA | NEAR CANAL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 300 | 45 | 7.5 | 30
GOPALPUR | TW-SNP- GOPALPUR 2 | GOPALPUR | GOPALPUR | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 1 | 300 | 50 | 7.5 | 27
SILANA | TW-SNP- BIDHLAN ROAD W/W | SILANA | BIDHLAN ROAD TUBEWELL | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 3 | 300 | 40 | 7.5 | 22
MAUJAM NAGAR | TW-SNP- MAUJAM NAGAR | MAUJAM NAGAR | IN FIELD GORAR VILLAGE | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | SNP PHESD NO. 3 | 1 | 450 | 60 | 15 | 40
SEHRI | TW-SNP- SEHRI 1 | SEHRI | ON BIDHLAN ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 2 | 350 | 40 | 5 | 30
KHERI DAHIYA | TW-SNP- KHERI DAHIYA | KHERI DAHIYA | KHERI DAHIYA | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 3 | 600 | 12 | 10 | 20
BIDHLAN | TW-SNP- BIDHLAN 2 | BIDHLAN | MAJRA ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 3 | 400 | 50 | 7.5 | 30
BIDHLAN | TW-SNP- BIDHLAN 1 | BIDHLAN | SILANA ROAD | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | KKD PHESD | 3 | 300 | 40 | 10 | 40
RIDHAU | TW-SNP- RIDHAU NEAR DRAIN NO. 2 | RIDHAU | NEAR DRAIN | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | SNP PHESD NO.3 | 1 | 400 | 40 | 10 | 20
FARMANA | TW-SNP- FARMANA HARIZAN BASTI NO. 2 | FARMANA | IN HARIZAN BASTI | SONIPAT | KHARKHODA | SONIPAT | SNP ( D AND P ) PHED | SNP PHESD NO.4 | 1 | 400 | 40 | 10 | 20